OZL Ozone Sensor Specs (Low Range):

| Sensor Code | OZL |
| --- | --- |
| Range | 0-0.5 ppm |
| Sensor Type | GSS |
| Minimum Detection Limit | 0.001 ppm |
| Accuracy of Factory Calibration | <±0.008 ppm 0-0.1 ppm <±10% 0.1-0.5 ppm |
| Resolution | 0.001 ppm |
| Response Time | 60 Seconds |
| Temp | 0 to 40°C |
| Relative Humidity | 10 to 90% |

OZL Sensor Cross-Sensitivity

EOZ Sensor specs shown on next page

EOZ Sensor Specs (High Range):

| Sensor Code | EOZ |
| --- | --- |
| Range | 0-10 ppm |
| Sensor Type | GSE |
| Minimum Detection Limit | 0.01 ppm |
| Accuracy of Factory Calibration | <±0.01 ppm + 7.5% |
| Resolution | 0.01 ppm |
| Response Time | 60 Seconds |
| Temp | 0 to 40°C |
| Relative Humidity | 15 to 90% |