[image: image1.jpg]





4340 Grove Avenue
[image: image2.jpg]


[image: image3.jpg]


Gurnee, IL 60031
Phone (866)736-8347 

 

	Visual Inspection
	Yes
	No

	Gaskets ripped or worn?
	(
	(

	Adapter pieces cracked or broken?
	(
	(


	[image: image4.jpg]


Facepiece Converter (Mask Side)
	[image: image5.jpg]


Facepiece Converter (P-100 Side)
	[image: image6.jpg]


P-100 Filters

	[image: image7.jpg]


Probed Adapter (Mask Side) *
	[image: image8.jpg]


Probed Adapter (P-100 Side) *
	[image: image9.jpg]


Suction Cup and Clip

	[image: image10.jpg]


Tubing
	6” Ruler and Cutting Tool
	Adapter Kit Instructions


	Functional Inspection
	Yes
	No

	All parts fit together properly?
	(
	(

	Cutting tool sharp enough to cut tubing?
	(
	(

	P-100 Filters clean?
	(
	(



	Setup
	Y
	N

	Tubing Clean?
	(
	(

	Used tube pieces removed from case?
	(
	(

	Adapter pieces disassembled?
	(
	(


	Additional Parts or Customer Setup Requests
	Yes
	No

	Extra suction cups and clips                                                                                   Qty: ______
	(
	(

	
	(
	(


	Compatible North Respirator Models

	series 7700, 5500, series 7600, 5400, 7800, 85400, 85500 including 80004, 80004S, SCBA series 800, 92000, 93000


	Included Parts & Accessories
	Yes
	No

	Facepiece Converter (Used with older models, may not be included)
	(
	(

	Probed Adapter
	(
	(

	(2) P-100 Filters
	(
	(

	Suction Cups and Clips (Minimum 25 Pieces Included)
	(
	(

	Tubing (10ft Minimum)
	(
	(

	6 Inch Ruler
	(
	(

	Tube Cutting Tool
	(
	(

	Carrying Case
	(
	(


*DO NOT OVER TIGHTEN PROBED ADAPTER*
What’s In the Box?  �An Inspection Guide to the RAECO Rents Instrumentation You Requested.


The contents of your rental kit will contain all the components shown on this sheet.  When you unpack the instrument, please try turning it on. If nothing happens, or a kit component is missing, please call (866)-736-8347 immediately so we can correct the problem.





Not Shown: Carrying Case








Instrument Technician: __________                                                                                                                                        Date:                /________      

