[image: image1.jpg]




4340 Grove Avenue
[image: image2.jpg]


[image: image3.jpg]


Gurnee, IL 60031
Phone (866)736-8347 


	Visual Inspection
	Yes
	No

	Gaskets ripped or worn?
	(
	(

	Adapter pieces cracked or broken?
	(
	(


	[image: image4.jpg]



Ported Adapter (Filter Side)
	[image: image5.jpg]



Ported Adapter (Respirator)
	[image: image6.jpg]



Tubing

	[image: image7.jpg]



P-100 Filters
	[image: image8.jpg]



Suction Cups and Clips
	6-inch ruler + Tube cutting tool

	
Facepiece Adapters
	
	


	Functional Inspection
	Yes
	No

	All parts fit together properly?
	(
	(

	Cutting tool sharp enough to cut tubing?
	(
	(

	P-100 Filters clean?
	(
	(


	Included Parts & Accessories
	Yes
	No

	Ported Adapter
	(
	(

	(2) P-100 Filter
	(
	(

	Suction Cups and Clips (Min. 25)
	(
	(

	6-inch Ruler
	(
	(

	Tube Cutting Tool
	(
	(

	Tubing (10 ft. minimum)
	(
	(

	Facepiece Adapter
	(
	(


	Setup
	Y
	N

	Tubing replaced?
	(
	(

	Suction cups and clips replaced?
	(
	(

	P-100 Filters replaced?
	(
	(

	Used tube pieces removed from case?
	(
	(

	Adapter pieces disassembled?
	(
	(



	Additional Parts or Customer Setup Requests
	Yes
	No

	Extra suction cups and clips                                                                                   Qty:______
	(
	(

	
	(
	(


What’s In the Box?  �An Inspection Guide to the RAECO Rents Instrumentation You Requested.


The contents of your rental kit will contain all the components shown on this sheet.  When you unpack the instrument, please try turning it on. If nothing happens, or a kit component is missing, please call (866)-736-8347 immediately so we can correct the problem.








Instrument Technician: __________                                                                                                                                              Date:        /        /____      

