[image: image1.jpg]




4340 Grove Avenue
[image: image2.jpg]


[image: image3.jpg]


Gurnee, IL 60031
Phone (866)736-8347 


	Visual Inspection
	Yes
	No

	Gaskets ripped or worn?
	(
	(

	Adapter pieces cracked or broken?
	(
	(


	[image: image4.jpg]


Facepiece Adapter (P-100 Side)
	[image: image5.jpg]


Facepiece Adapter (Mask Side)
	[image: image6.jpg]


P-100 Filter

	[image: image7.jpg]


Probed Adapter (Mask Side)
	[image: image8.jpg]


Probed Adapter (P-100 Side)
	[image: image9.jpg]


Suction Cup and Clip

	6 Inch Ruler and Cutting Tool[image: image10.jpg]



	Tubing
	Adapter Kit Instructions


	Setup
	Y
	N

	Fresh Tubing? (10 Feet min.)
	(
	(

	Adapter pieces disassembled?
	(
	(


	Functional Inspection
	Yes
	No

	All parts fit together properly?
	(
	(

	Cutting tool sharp enough to cut tubing?
	(
	(

	P-100 Filters clean and intact?
	(
	(



	Included Parts & Accessories
	Yes
	No

	Scott Facepiece Adapter
	(
	(

	Probed Adapter
	(
	(

	P-100 Filter
	(
	(

	Suction Cups and Clips (Minimum 25 Pieces Included)
	(
	(

	Tubing (10ft Minimum)
	(
	(

	6 Inch Ruler
	(
	(

	Tube Cutting Tool
	(
	(

	Adapter Kit Instructions
	(
	(

	Carrying Case
	(
	(


	Additional Parts or Customer Setup Requests
	Yes
	No

	Extra suction cups and clips                                                                                   Qty: ______
	(
	(

	
	(
	(

	
	(
	(

	
	(
	(


	Compatible Scott Respirator Models

	AV-2000, AV-3000, AV-3000 HT, Scott-O-Vista, Weld-O-Vista, Model 65



What’s In the Box?  �An Inspection Guide to the RAECO Rents Instrumentation You Requested.


The contents of your rental kit will contain all the components shown on this sheet.  When you unpack the instrument, please try turning it on. If nothing happens, or a kit component is missing, please call (866)-736-8347 immediately so we can correct the problem.





Not Shown: Carrying Case








Instrument Technician: __________                                                                                                                                      Date:               /_______      

